## Sheet1
<modbusServer Version="2.0">
<modbusRegister name="COILS">
<mapping variable="MDB_A_MCCB_QM1_ON" parent="Micro850" dataType="Bool" address="000001" va="0x4d0">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_QM1_TRIP" parent="Micro850" dataType="Bool" address="000002" va="0x4d1">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_QM2_ON" parent="Micro850" dataType="Bool" address="000003" va="0x4d2">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_QM2_TRIP" parent="Micro850" dataType="Bool" address="000004" va="0x4d3">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q1_ON" parent="Micro850" dataType="Bool" address="000005" va="0x4d4">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q1_TRIP" parent="Micro850" dataType="Bool" address="000006" va="0x4d5">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q2_ON" parent="Micro850" dataType="Bool" address="000007" va="0x4d6">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q2_TRIP" parent="Micro850" dataType="Bool" address="000008" va="0x4d7">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCCB_QM1_TRIP" parent="Micro850" dataType="Bool" address="000009" va="0x4f3">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCCB_QM2_ON" parent="Micro850" dataType="Bool" address="000010" va="0x4f4">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCCB_QM2_TRIP" parent="Micro850" dataType="Bool" address="000011" va="0x4f5">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCB_Q6_ON" parent="Micro850" dataType="Bool" address="000012" va="0x4f6">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCB_Q7_ON" parent="Micro850" dataType="Bool" address="000013" va="0x4f7">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCB_Q8_ON" parent="Micro850" dataType="Bool" address="000014" va="0x4f8">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCB_Q9_ON" parent="Micro850" dataType="Bool" address="000015" va="0x4f9">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCB_Q5_ON" parent="Micro850" dataType="Bool" address="000016" va="0x4fa">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCCB_QM1_ON" parent="Micro850" dataType="Bool" address="000017" va="0x4fb">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCCB_QM1_TRIP" parent="Micro850" dataType="Bool" address="000018" va="0x4fc">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCCB_QM2_ON" parent="Micro850" dataType="Bool" address="000019" va="0x4fd">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCCB_QM2_TRIP" parent="Micro850" dataType="Bool" address="000020" va="0x4fe">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCB_Q6_ON" parent="Micro850" dataType="Bool" address="000021" va="0x4ff">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCB_Q7_ON" parent="Micro850" dataType="Bool" address="000022" va="0x500">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q3_ON" parent="Micro850" dataType="Bool" address="000023" va="0x4d8">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q3_TRIP" parent="Micro850" dataType="Bool" address="000024" va="0x4d9">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q4_ON" parent="Micro850" dataType="Bool" address="000025" va="0x4da">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q4_TRIP" parent="Micro850" dataType="Bool" address="000026" va="0x4db">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q5_ON" parent="Micro850" dataType="Bool" address="000027" va="0x4dc">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q5_TRIP" parent="Micro850" dataType="Bool" address="000028" va="0x4dd">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q6_ON" parent="Micro850" dataType="Bool" address="000029" va="0x4de">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q6_TRIP" parent="Micro850" dataType="Bool" address="000030" va="0x4df">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q7_ON" parent="Micro850" dataType="Bool" address="000031" va="0x4e0">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_A_MCCB_Q7_TRIP" parent="Micro850" dataType="Bool" address="000032" va="0x4e1">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_QM1_ON" parent="Micro850" dataType="Bool" address="000033" va="0x4e2">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_QM1_TRIP" parent="Micro850" dataType="Bool" address="000034" va="0x4e3">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_QM2_ON" parent="Micro850" dataType="Bool" address="000035" va="0x4e4">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_QM2_TRIP" parent="Micro850" dataType="Bool" address="000036" va="0x4e5">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q1_ON" parent="Micro850" dataType="Bool" address="000037" va="0x4e6">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q1_TRIP" parent="Micro850" dataType="Bool" address="000038" va="0x4e7">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q2_ON" parent="Micro850" dataType="Bool" address="000039" va="0x4e8">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q2_TRIP" parent="Micro850" dataType="Bool" address="000040" va="0x4e9">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q3_ON" parent="Micro850" dataType="Bool" address="000041" va="0x4ea">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q3_TRIP" parent="Micro850" dataType="Bool" address="000042" va="0x4eb">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q4_ON" parent="Micro850" dataType="Bool" address="000043" va="0x4ec">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q4_TRIP" parent="Micro850" dataType="Bool" address="000044" va="0x4ed">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q5_ON" parent="Micro850" dataType="Bool" address="000045" va="0x4ee">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q5_TRIP" parent="Micro850" dataType="Bool" address="000046" va="0x4ef">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q6_ON" parent="Micro850" dataType="Bool" address="000047" va="0x4f0">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="MDB_B_MCCB_Q6_TRIP" parent="Micro850" dataType="Bool" address="000048" va="0x4f1">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_A_MCCB_QM1_ON" parent="Micro850" dataType="Bool" address="000049" va="0x4f2">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCB_Q8_ON" parent="Micro850" dataType="Bool" address="000050" va="0x501">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCB_Q9_ON" parent="Micro850" dataType="Bool" address="000051" va="0x502">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="UPS_DB_B_MCB_Q5_ON" parent="Micro850" dataType="Bool" address="000052" va="0x503">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_CLS_MDB_A_QM1" parent="Micro850" dataType="Bool" address="000053" va="0x504">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_OPEN_MDB_A_QM1" parent="Micro850" dataType="Bool" address="000054" va="0x505">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_CLS_MDB_A_QM2" parent="Micro850" dataType="Bool" address="000055" va="0x506">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_OPEN_MDB_A_QM2" parent="Micro850" dataType="Bool" address="000056" va="0x507">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_CLS_MDB_B_QM1" parent="Micro850" dataType="Bool" address="000057" va="0x508">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_OPEN_MDB_B_QM1" parent="Micro850" dataType="Bool" address="000058" va="0x509">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_CLS_MDB_B_QM2" parent="Micro850" dataType="Bool" address="000059" va="0x50a">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_OPEN_MDB_B_QM2" parent="Micro850" dataType="Bool" address="000060" va="0x50b">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="CMD_SHUTOFF_DAMPER" parent="Micro850" dataType="Bool" address="000061" va="0x50c">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
<mapping variable="Reset_Time_Eco" parent="Micro850" dataType="Bool" address="000062" va="0x50d">
<MBVarInfo ElemType="Bool" SubElemType="Any" DataTypeSize="1" />
</mapping>
</modbusRegister>
<modbusRegister name="HOLDING_REGISTERS">
<mapping variable="Set_Speed_Fan" parent="Micro850" dataType="Word" address="400063" va="0x512">
<MBVarInfo ElemType="Word" SubElemType="Any" DataTypeSize="2" />
</mapping>
<mapping variable="Humidity_Set" parent="Micro850" dataType="Word" address="400064" va="0x514">
<MBVarInfo ElemType="Word" SubElemType="Any" DataTypeSize="2" />
</mapping>
<mapping variable="Env_Temp_10_Word" parent="Micro850" dataType="Word" address="400065" va="0x516">
<MBVarInfo ElemType="Word" SubElemType="Any" DataTypeSize="2" />
</mapping>
<mapping variable="DC_Temp_10_Word" parent="Micro850" dataType="Word" address="400066" va="0x518">
<MBVarInfo ElemType="Word" SubElemType="Any" DataTypeSize="2" />
</mapping>
<mapping variable="Env_Humidity_10_Word" parent="Micro850" dataType="Word" address="400067" va="0x51a">
<MBVarInfo ElemType="Word" SubElemType="Any" DataTypeSize="2" />
</mapping>
<mapping variable="DC_Room_Humidity_10_Word" parent="Micro850" dataType="Word" address="400068" va="0x51c">
<MBVarInfo ElemType="Word" SubElemType="Any" DataTypeSize="2" />
</mapping>
</modbusRegister>
</modbusServer>

## Data
Register | Data Type | Quantity | Function | start_addr | sensorSet | ruleId | sensorId | OID | Label | valueInc | type
1 | bit | 1 | 1 | 0 | MDB A | mdb_a_qm1_on | _MDB_A_QM1_ON | MDB_A_QM1_ON | MDB_A_QM1_ON |  | state
2 | bit | 1 | 1 | 1 | MDB A | mdb_a_qm1_trip | _MDB_A_QM1_TRIP | MDB_A_QM1_TRIP | MDB_A_QM1_TRIP |  | state
3 | bit | 1 | 1 | 2 | MDB A | mdb_a_qm2_on | _MDB_A_QM2_ON | MDB_A_QM2_ON | MDB_A_QM2_ON |  | state
4 | bit | 1 | 1 | 3 | MDB A | mdb_a_qm2_trip | _MDB_A_QM2_TRIP | MDB_A_QM2_TRIP | MDB_A_QM2_TRIP |  | state
5 | bit | 1 | 1 | 4 | MDB A | mdb_a_q1_on | _MDB_A_Q1_ON | MDB_A_Q1_ON | MDB_A_Q1_ON |  | state
6 | bit | 1 | 1 | 5 | MDB A | mdb_a_q1_trip | _MDB_A_Q1_TRIP | MDB_A_Q1_TRIP | MDB_A_Q1_TRIP |  | state
7 | bit | 1 | 1 | 6 | MDB A | mdb_a_q2_on | _MDB_A_Q2_ON | MDB_A_Q2_ON | MDB_A_Q2_ON |  | state
8 | bit | 1 | 1 | 7 | MDB A | mdb_a_q2_trip | _MDB_A_Q2_TRIP | MDB_A_Q2_TRIP | MDB_A_Q2_TRIP |  | state
9 | bit | 1 | 1 | 8 | UPS DB A | ups_db_a_qm1_trip | _UPS_DB_A_QM1_TRIP | UPS_DB_A_QM1_TRIP | UPS_DB_A_QM1_TRIP |  | state
10 | bit | 1 | 1 | 9 | UPS DB A | ups_db_a_qm2_on | _UPS_DB_A_QM2_ON | UPS_DB_A_QM2_ON | UPS_DB_A_QM2_ON |  | state
11 | bit | 1 | 1 | 10 | UPS DB A | ups_db_a_qm2_trip | _UPS_DB_A_QM2_TRIP | UPS_DB_A_QM2_TRIP | UPS_DB_A_QM2_TRIP |  | state
12 | bit | 1 | 1 | 11 | UPS DB A | ups_db_a_q6_on | _UPS_DB_A_Q6_ON | UPS_DB_A_Q6_ON | UPS_DB_A_Q6_ON |  | state
13 | bit | 1 | 1 | 12 | UPS DB A | ups_db_a_q7_on | _UPS_DB_A_Q7_ON | UPS_DB_A_Q7_ON | UPS_DB_A_Q7_ON |  | state
14 | bit | 1 | 1 | 13 | UPS DB A | ups_db_a_q8_on | _UPS_DB_A_Q8_ON | UPS_DB_A_Q8_ON | UPS_DB_A_Q8_ON |  | state
15 | bit | 1 | 1 | 14 | UPS DB A | ups_db_a_q9_on | _UPS_DB_A_Q9_ON | UPS_DB_A_Q9_ON | UPS_DB_A_Q9_ON |  | state
16 | bit | 1 | 1 | 15 | UPS DB A | ups_db_a_q5_on | _UPS_DB_A_Q5_ON | UPS_DB_A_Q5_ON | UPS_DB_A_Q5_ON |  | state
17 | bit | 1 | 1 | 16 | UPS DB B | ups_db_b_qm1_on | _UPS_DB_B_QM1_ON | UPS_DB_B_QM1_ON | UPS_DB_B_QM1_ON |  | state
18 | bit | 1 | 1 | 17 | UPS DB B | ups_db_b_qm1_trip | _UPS_DB_B_QM1_TRIP | UPS_DB_B_QM1_TRIP | UPS_DB_B_QM1_TRIP |  | state
19 | bit | 1 | 1 | 18 | UPS DB B | ups_db_b_qm2_on | _UPS_DB_B_QM2_ON | UPS_DB_B_QM2_ON | UPS_DB_B_QM2_ON |  | state
20 | bit | 1 | 1 | 19 | UPS DB B | ups_db_b_qm2_trip | _UPS_DB_B_QM2_TRIP | UPS_DB_B_QM2_TRIP | UPS_DB_B_QM2_TRIP |  | state
21 | bit | 1 | 1 | 20 | UPS DB B | ups_db_b_q6_on | _UPS_DB_B_Q6_ON | UPS_DB_B_Q6_ON | UPS_DB_B_Q6_ON |  | state
22 | bit | 1 | 1 | 21 | UPS DB B | ups_db_b_q7_on | _UPS_DB_B_Q7_ON | UPS_DB_B_Q7_ON | UPS_DB_B_Q7_ON |  | state
23 | bit | 1 | 1 | 22 | MDB A | mdb_a_q3_on | _MDB_A_Q3_ON | MDB_A_Q3_ON | MDB_A_Q3_ON |  | state
24 | bit | 1 | 1 | 23 | MDB A | mdb_a_q3_trip | _MDB_A_Q3_TRIP | MDB_A_Q3_TRIP | MDB_A_Q3_TRIP |  | state
25 | bit | 1 | 1 | 24 | MDB A | mdb_a_q4_on | _MDB_A_Q4_ON | MDB_A_Q4_ON | MDB_A_Q4_ON |  | state
26 | bit | 1 | 1 | 25 | MDB A | mdb_a_q4_trip | _MDB_A_Q4_TRIP | MDB_A_Q4_TRIP | MDB_A_Q4_TRIP |  | state
27 | bit | 1 | 1 | 26 | MDB A | mdb_a_q5_on | _MDB_A_Q5_ON | MDB_A_Q5_ON | MDB_A_Q5_ON |  | state
28 | bit | 1 | 1 | 27 | MDB A | mdb_a_q5_trip | _MDB_A_Q5_TRIP | MDB_A_Q5_TRIP | MDB_A_Q5_TRIP |  | state
29 | bit | 1 | 1 | 28 | MDB A | mdb_a_q6_on | _MDB_A_Q6_ON | MDB_A_Q6_ON | MDB_A_Q6_ON |  | state
30 | bit | 1 | 1 | 29 | MDB A | mdb_a_q6_trip | _MDB_A_Q6_TRIP | MDB_A_Q6_TRIP | MDB_A_Q6_TRIP |  | state
31 | bit | 1 | 1 | 30 | MDB A | mdb_a_q7_on | _MDB_A_Q7_ON | MDB_A_Q7_ON | MDB_A_Q7_ON |  | state
32 | bit | 1 | 1 | 31 | MDB A | mdb_a_q7_trip | _MDB_A_Q7_TRIP | MDB_A_Q7_TRIP | MDB_A_Q7_TRIP |  | state
33 | bit | 1 | 1 | 32 | MDB B | mdb_b_qm1_on | _MDB_B_QM1_ON | MDB_B_QM1_ON | MDB_B_QM1_ON |  | state
34 | bit | 1 | 1 | 33 | MDB B | mdb_b_qm1_trip | _MDB_B_QM1_TRIP | MDB_B_QM1_TRIP | MDB_B_QM1_TRIP |  | state
35 | bit | 1 | 1 | 34 | MDB B | mdb_b_qm2_on | _MDB_B_QM2_ON | MDB_B_QM2_ON | MDB_B_QM2_ON |  | state
36 | bit | 1 | 1 | 35 | MDB B | mdb_b_qm2_trip | _MDB_B_QM2_TRIP | MDB_B_QM2_TRIP | MDB_B_QM2_TRIP |  | state
37 | bit | 1 | 1 | 36 | MDB B | mdb_b_q1_on | _MDB_B_Q1_ON | MDB_B_Q1_ON | MDB_B_Q1_ON |  | state
38 | bit | 1 | 1 | 37 | MDB B | mdb_b_q1_trip | _MDB_B_Q1_TRIP | MDB_B_Q1_TRIP | MDB_B_Q1_TRIP |  | state
39 | bit | 1 | 1 | 38 | MDB B | mdb_b_q2_on | _MDB_B_Q2_ON | MDB_B_Q2_ON | MDB_B_Q2_ON |  | state
40 | bit | 1 | 1 | 39 | MDB B | mdb_b_q2_trip | _MDB_B_Q2_TRIP | MDB_B_Q2_TRIP | MDB_B_Q2_TRIP |  | state
41 | bit | 1 | 1 | 40 | MDB B | mdb_b_q3_on | _MDB_B_Q3_ON | MDB_B_Q3_ON | MDB_B_Q3_ON |  | state
42 | bit | 1 | 1 | 41 | MDB B | mdb_b_q3_trip | _MDB_B_Q3_TRIP | MDB_B_Q3_TRIP | MDB_B_Q3_TRIP |  | state
43 | bit | 1 | 1 | 42 | MDB B | mdb_b_q4_on | _MDB_B_Q4_ON | MDB_B_Q4_ON | MDB_B_Q4_ON |  | state
44 | bit | 1 | 1 | 43 | MDB B | mdb_b_q4_trip | _MDB_B_Q4_TRIP | MDB_B_Q4_TRIP | MDB_B_Q4_TRIP |  | state
45 | bit | 1 | 1 | 44 | MDB B | mdb_b_q5_on | _MDB_B_Q5_ON | MDB_B_Q5_ON | MDB_B_Q5_ON |  | state
46 | bit | 1 | 1 | 45 | MDB B | mdb_b_q5_trip | _MDB_B_Q5_TRIP | MDB_B_Q5_TRIP | MDB_B_Q5_TRIP |  | state
47 | bit | 1 | 1 | 46 | MDB B | mdb_b_q6_on | _MDB_B_Q6_ON | MDB_B_Q6_ON | MDB_B_Q6_ON |  | state
48 | bit | 1 | 1 | 47 | MDB B | mdb_b_q6_trip | _MDB_B_Q6_TRIP | MDB_B_Q6_TRIP | MDB_B_Q6_TRIP |  | state
49 | bit | 1 | 1 | 48 | UPS DB A | ups_db_a_qm1_on | _UPS_DB_A_QM1_ON | UPS_DB_A_QM1_ON | UPS_DB_A_QM1_ON |  | state
50 | bit | 1 | 1 | 49 | UPS DB B | ups_db_b_q8_on | _UPS_DB_B_Q8_ON | UPS_DB_B_Q8_ON | UPS_DB_B_Q8_ON |  | state
51 | bit | 1 | 1 | 50 | UPS DB B | ups_db_b_q9_on | _UPS_DB_B_Q9_ON | UPS_DB_B_Q9_ON | UPS_DB_B_Q9_ON |  | state
52 | bit | 1 | 1 | 51 | UPS DB B | ups_db_b_q5_on | _UPS_DB_B_Q5_ON | UPS_DB_B_Q5_ON | UPS_DB_B_Q5_ON |  | state
53 | bit | 1 | 1 | 52 | CMD | cmd_cls_mdb_a_qm1 | _CMD_CLS_MDB_A_QM1 | CMD_CLS_MDB_A_QM1 | CMD_CLS_MDB_A_QM1 |  | state
54 | bit | 1 | 1 | 53 | CMD | cmd_open_mdb_a_qm1 | _CMD_OPEN_MDB_A_QM1 | CMD_OPEN_MDB_A_QM1 | CMD_OPEN_MDB_A_QM1 |  | state
55 | bit | 1 | 1 | 54 | CMD | cmd_cls_mdb_a_qm2 | _CMD_CLS_MDB_A_QM2 | CMD_CLS_MDB_A_QM2 | CMD_CLS_MDB_A_QM2 |  | state
56 | bit | 1 | 1 | 55 | CMD | cmd_open_mdb_a_qm2 | _CMD_OPEN_MDB_A_QM2 | CMD_OPEN_MDB_A_QM2 | CMD_OPEN_MDB_A_QM2 |  | state
57 | bit | 1 | 1 | 56 | CMD | cmd_cls_mdb_b_qm1 | _CMD_CLS_MDB_B_QM1 | CMD_CLS_MDB_B_QM1 | CMD_CLS_MDB_B_QM1 |  | state
58 | bit | 1 | 1 | 57 | CMD | cmd_open_mdb_b_qm1 | _CMD_OPEN_MDB_B_QM1 | CMD_OPEN_MDB_B_QM1 | CMD_OPEN_MDB_B_QM1 |  | state
59 | bit | 1 | 1 | 58 | CMD | cmd_cls_mdb_b_qm2 | _CMD_CLS_MDB_B_QM2 | CMD_CLS_MDB_B_QM2 | CMD_CLS_MDB_B_QM2 |  | state
60 | bit | 1 | 1 | 59 | CMD | cmd_open_mdb_b_qm2 | _CMD_OPEN_MDB_B_QM2 | CMD_OPEN_MDB_B_QM2 | CMD_OPEN_MDB_B_QM2 |  | state
61 | bit | 1 | 1 | 60 | CMD | cmd_shutoff_damper | _CMD_SHUTOFF_DAMPER | CMD_SHUTOFF_DAMPER | CMD_SHUTOFF_DAMPER |  | state
62 | bit | 1 | 1 | 61 | General | reset_time_eco | _RESET_TIME_ECO | RESET_TIME_ECO | Reset_Time_Eco |  | state
400063 | uint_16 | 1 | 3 | 62 | General | set_speed_fan | _SET_SPEED_FAN | SET_SPEED_FAN | Set_Speed_Fan | 1 | fanspeed
400064 | uint_16 | 1 | 3 | 63 | Environmental | humidity_set | _HUMIDITY_SET | HUMIDITY_SET | Humidity_Set | 1 | humidity
400065 | uint_16 | 1 | 3 | 64 | Environmental | env_temp_10_word | _ENV_TEMP_10_WORD | ENV_TEMP_10_WORD | Env_Temp_10_Word | 1 | temp
400066 | uint_16 | 1 | 3 | 65 | Environmental | dc_temp_10_word | _DC_TEMP_10_WORD | DC_TEMP_10_WORD | DC_Temp_10_Word | 1 | temp
400067 | uint_16 | 1 | 3 | 66 | Environmental | env_humidity_10_word | _ENV_HUMIDITY_10_WORD | ENV_HUMIDITY_10_WORD | Env_Humidity_10_Word | 1 | humidity
400068 | uint_16 | 1 | 3 | 67 | Environmental | dc_room_humidity_10_word | _DC_ROOM_HUMIDITY_10_WORD | DC_ROOM_HUMIDITY_10_WORD | DC_Room_Humidity_10_Word | 1 | humidity

## DDF
<numSensor ruleid="bit"> | 2 | <stateSensor ruleid="bit"> | 2 | <value_ref_id valid="bit"> | 2
<type>bit</type> |  | <type>state</type> |  | <function>3</function>
<sensorId>1</sensorId> |  | <sensorId>bit</sensorId> |  | <start_addr>bit</start_addr>
<value> |  | <value> |  | <quantity>2</quantity>
<getOid>bit</getOid> |  | <mapValue mapid="0_1state-vm"> |  | <type>float</type>
</value> |  | <getOid>bit</getOid> |  | </value_ref_id>
<label>bit</label> |  | </mapValue>
<sensorSet>bit</sensorSet> |  | </value>
</numSensor> |  | <label>bit</label>
<enum>open_close-em</enum>
<sensorSet>bit</sensorSet>
</stateSensor>